## Published Standards
|  | Fire Fighting Equipments and Accessories |  |  | Generated On: Sep 14, 2026 05:56 PM
Sl# | Standard Number | Date of Publish | Title | Type of Standard | Degree of Equivalence
1 | IS 19452:2026 | 27 Mar 2026 | Design Installation Testing and Maintenance of Condensed Aerosol Fire Extinguishing System - Code of Practice | Code of Practice | Indigenous
2 | IS 2189:2026 | 17 Mar 2026 | Selection Installation and Maintenance of Automatic Fire Detection and Alarm System - Code of Practice Fifth Revision | Code of Practice | Indigenous
3 | IS 884:2025 | 26 Mar 2025 | First-Aid Hose-Reel for Fire Fighting - Specification (Second Revision) | Product Specification | Indigenous
4 | IS 903:2025 | 25 Mar 2025 | Fire Hose Delivery Couplings, Branch Pipe, Nozzles and Nozzle Spanner - Specification (Fifth Revision) | Product Specification | -
5 | IS 905:2025 | 19 Mar 2025 | Delivery Breechings for Fire Fighting - Dividing and Collecting - Instantaneous Pattern - Specification (third revision) | Product Specification | Indigenous
6 | IS 5290:2025 | 19 Mar 2025 | Landing Valves - Specification (Fourth Revision) | Product Specification | Indigenous
7 | IS 18990:2024 | 28 Nov 2024 | Safety of machinery - Safeguarding supportive system | Safety Standard | Identical under dual numbering
8 | IS 8442:2024 | 18 Oct 2024 | Stand Post Type Water and Water-cum-Foam Monitor for Fire Fighting - Specification (Second Revision) | Product Specification | Indigenous
9 | IS 2190:2024 | 18 Oct 2024 | Selection, Installation and Maintenance of First-aid Fire Extinguishers - Portable and Mobile - Code of Practice (fifth revision) | Code of Practice | Indigenous
10 | IS 2097:2024 | 30 Sep 2024 | Low Expansion Foam Making Branch Pipe and Portable Foam Inductor - Specification (Third Revision) | Product Specification | Indigenous
11 | IS/ISO 7240 (Part 7):2023 | 19 Aug 2024 | Fire Detection and Alarm Systems - Part 7 Point-Type Smoke Detectors using Scattered Light Transmitted Light or Ionization first revision | Product Specification | Identical under single numbering
12 | IS/ISO 7240 (Part 2):2017 | 16 Aug 2024 | Fire Detection and Alarm Systems Part 2: Fire Detection Control and Indicating Equipment first revision | Product Specification | Identical under single numbering
13 | IS/ISO 7240 (Part 3):2020 | 13 Aug 2024 | Fire Detection and Alarm Systems - Part 3: Audible Alarm Devices first revision | Product Specification | Identical under single numbering
14 | IS/ISO 7240 (Part 4):2017 | 13 Aug 2024 | Fire Detection and Alarm Systems - Part 4 Power Supply Equipment first revision | Product Specification | Identical under single numbering
15 | IS/ISO 7240 (Part 5):2018 | 13 Aug 2024 | Fire Detection and Alarm Systems - Part 5 Point Type Heat Detectors second revision | Product Specification | Identical under single numbering
16 | IS/ISO 7240 (Part 12):2022 | 13 Aug 2024 | Fire Detection and Alarm Systems - Part 12 Line Type Smoke Detectors using a Transmitted Optical Beam first revision | Product Specification | Identical under single numbering
17 | IS/ISO 7240 (Part 17):2020 | 13 Aug 2024 | Fire Detection and Fire Alarm Systems - Part 17: Transmission Path Isolators first revision | Product Specification | Identical under single numbering
18 | IS/ISO 7240 (Part 15):2014 | 13 Aug 2024 | Fire Detection and Alarm Systems Part 15: Point-Type Fire Detectors Using Smoke and Heat Sensors first revision | Product Specification | Identical under single numbering
19 | IS/ISO 7240 (Part 31):2022 | 13 Aug 2024 | Fire Detection and Alarm Systems - Part 31 Resettable Line-Type Heat Detectors Adoption of IS 7240-31: 2022 | Product Specification | Identical under single numbering
20 | IS/ISO 7240 (Part 13):2020 | 13 Aug 2024 | Fire Detection and Alarm Systems Part 13 Compatibility Assessment of System Components first revision | Others | Identical under single numbering
21 | IS 12459:2024 | 30 May 2024 | Fire Safety in Cable Runs - Code of Practice (First Revision) | Code of Practice | Indigenous
22 | IS 906:2024 | 08 Mar 2024 | Portable and Fixed Type Revolving Branch for Fire Fighting - Specification (Fourth Revision) | Product Specification | Indigenous
23 | IS/ISO 11925 (Part 2):2020 | 16 Oct 2023 | Reaction to fire tests - Ignitability of products subjected to direct impingement of flame - Part 2: Single-flame source test | Methods of Tests | Identical under single numbering
24 | IS/ISO 1716:2018 | 13 Oct 2023 | Reaction to Fire Tests for Products - Determination of The Gross Heat of Combustion Calorific Value | Methods of Tests | Identical under single numbering
25 | IS 18271:2023 | 16 Aug 2023 | Fire Safety in Commercial Kitchen - Guidelines | Others | Indigenous
26 | IS 18190:2023 | 03 Jul 2023 | Fire Resistance of Perimeter Fire Barrier Joint System - Method of Tests | Methods of Tests | Indigenous
27 | IS 9972:2023 | 09 Feb 2023 | Automatic Sprinkler Heads for Fire Protection Service - Specification (Second Revision) | Product Specification | Indigenous
28 | IS 17518 (Part 1):2022 | 31 Aug 2022 | Fire resistance tests Door and shutter assemblies Part 1: General requirements Adoption of ISO 3008-1:2019 | Methods of Tests | Identical under dual numbering
29 | IS 8757:2021 | 30 Nov 2021 | Glossary of Terms Associated With Fire Safety (Second Revision) | Terminology | Modified/Technically Equivalent
30 | IS 15105:2021 | 31 Jul 2021 | Design and Installation of Fixed Automatic Sprinkler Fire Extinguishing Systems - Code of Practice (first revision) | Code of Practice | Indigenous
31 | IS 15493:2021 | 31 Mar 2021 | Gaseous Fire Extinguishing Systems - General Requirements (First Revision) | Others | Indigenous
32 | IS 12835 (Part 1):2021 | 31 Mar 2021 | Design And Installation Of Fixed Foam Fire Extinguishing System - Code Of Practice Part 1 Low Expansion Foam (First Revision) | Code of Practice | Indigenous
33 | IS 15908:2021 | 31 Mar 2021 | Selection installation and maintenance of control and indicating equipments for fire detection and alarm system - Code of Practice First Revision | Code of Practice | Indigenous
34 | IS/ISO 7240 (Part 8):2014 | 31 Jan 2021 | Fire Detection and Alarm Systems Part 8 Point-Type Fire Detectors Using a Carbon Monoxide Sensor in Combination with a Heat Sensor | Product Specification | Identical under single numbering
35 | IS/ISO 7240 (Part 18):2017 | 31 Jan 2021 | Fire Detection and Alarm Systems Part 18 Input/Output Devices | Product Specification | Identical under dual numbering
36 | IS/ISO 7240 (Part 21):2005 | 31 Jan 2021 | Fire Detection and Alarm Systems Part 21 Routing Equipment | Product Specification | Identical under single numbering
37 | IS/ISO 7240 (Part 22):2017 | 31 Jan 2021 | Fire Detection and Alarm Systems Part 22 Smoke-Detection Equipment for Ducts | Product Specification | Identical under dual numbering
38 | IS/ISO 7240 (Part 24):2016 | 31 Jan 2021 | Fire Detection and Alarm Systems Part 24 Fire Alarm Loudspeakers | Product Specification | Identical under single numbering
39 | IS/ISO 7240 (Part 25):2010 | 31 Jan 2021 | Fire Detection and Alarm Systems Part 25 Components Using Radio Transmission Paths | Product Specification | Identical under single numbering
40 | IS/ISO 7240 (Part 27):2018 | 31 Jan 2021 | Fire Detection and Alarm Systems Part 27 Point Type Fire Detectors Using a Smoke Sensor in Combination with a Carbon Monoxide Sensor and, Optionally, One or More Heat Sensors | Product Specification | Identical under dual numbering
41 | IS/ISO 7240 (Part 29):2017 | 31 Jan 2021 | Fire Detection and Alarm Systems Part 29 Video Fire Detectors | Product Specification | Identical under single numbering
42 | IS 15381:2021 | 31 Jan 2021 | Fire Blanket - Specification ( First Revision ) | Product Specification | Indigenous
43 | IS/ISO 7240 (Part 10):2012 | 31 Jan 2021 | Fire Detection and Alarm Systems Part 10 Point-Type Flame Detectors | Product Specification | Identical under single numbering
44 | IS 15325:2020 | 28 Feb 2020 | Design and Installation of Fixed Automatic High and Medium Velocity Water Spray System — Code of Practice ( First Revision ) | Code of Practice | Indigenous
45 | IS 15519:2020 | 28 Feb 2020 | Water Mist Fire Protection Systems - System Design, Installation and Commissioning - Code of Practice ( First Revision ) | Code of Practice | Indigenous
46 | IS/ISO 21927 (Part 1):2008 | 30 Nov 2019 | Smoke and Heat Control Systems Part 1 Specification for Smoke Barriers | Product Specification | Identical under dual numbering
47 | IS 4308:2019 | 31 Jan 2019 | Dry Chemical Powders for Fire Fighting - BC, ABC and D Types - Specification ( Third Revision ) | Product Specification | Modified/Technically Equivalent
48 | IS 15683:2018 | 31 Dec 2018 | Portable Fire Extinguishers — Performance and Construction — Specification ( First Revision ) | Product Specification | Modified/Technically Equivalent
49 | IS 4989:2018 | 31 Dec 2018 | Foam concentrate for producing mechanical foam for fire fighting - Specification (Fourth Revision) | Product Specification | Indigenous
50 | IS/ISO 7240 (Part 23):2013 | 31 May 2018 | Fire Detection and Alarm Systems Part 23 Visual Alarm Devices | Product Specification | Identical under dual numbering
51 | IS/ISO 7240 (Part 20):2010 | 31 May 2018 | Fire detection and alarm systems: Part 20 aspirating smoke detectors | Product Specification | Identical under single numbering
52 | IS/ISO 7240 (Part 6):2011 | 31 May 2018 | Fire detection and alarm systems: Part 6 carbon monoxide fire detectors using electro - Chemical cells | Product Specification | Identical under single numbering
53 | IS/ISO 7240 (Part 16):2007 | 31 May 2018 | Fire detection and alarm systems: Part 16 sound system control and indicating equipment | Product Specification | Identical under single numbering
54 | IS 16534:2017 | 31 Oct 2017 | Chlorinated Polyvinyl Chloride (CPCV) Pipe Fittings for Automatic Sprinkler Fire Extinguishing System - Specification | Product Specification | Indigenous
55 | IS 13039:2014 | 30 Jun 2014 | External hydrant systems - provision and maintenance - Code of practice (First Revision) | Code of Practice | -
56 | IS 16088:2012 | 30 Nov 2013 | Chlorinated polyvinyl chloride (CPVC) pipes for automatic sprinkler fire extinguishing system - Specification | Product Specification | Indigenous
57 | IS 16095:2013 | 31 Oct 2013 | Hazmat vehicle - Specification | Product Specification | Indigenous
58 | IS 16109:2013 | 30 Sep 2013 | Turntable ladder - Specification | Product Specification | Indigenous
59 | IS/ISO 6182 (Part 7):2004 | 30 Sep 2013 | Fire protection - Automatic sprinkler systems: Part 7 requirements and test methods for early suppression fast response (Esfr) sprinklers | Product Specification | Identical under single numbering
60 | IS/ISO 7240 (Part 11):2011 | 30 Sep 2013 | Fire detection and alarm systems: Part 11 manual call points | Product Specification | Identical under single numbering
61 | IS 16018:2012 | 30 Apr 2013 | Wheeled fire extinguishers - Performance and construction - Specification | Product Specification | Not Equivalent
62 | IS 950:2012 | 31 Oct 2012 | Functional requirements for water tender, type B for fire brigade use (Third Revision) | Others | Indigenous
63 | IS 2871:2012 | 30 Jun 2012 | Branch pipe, universal for fire fighting purpose - Specification (Second Revision) | Product Specification | Indigenous
64 | IS 952:2012 | 30 Jun 2012 | Fog nozzle for fire brigade use - Specification (Second Revision) | Product Specification | Indigenous
65 | IS 949:2012 | 31 Mar 2012 | Specification for snatch block for use with fibre rope for fire brigade use (First Revision) | Others | Indigenous
66 | IS 15835:2009 | 28 Feb 2009 | Gaseous Fire Extinguishing Systems - HCFC-125 Extinguishing Systems | Others | -
67 | IS 15811:2008 | 30 Nov 2008 | Long - Range water - Cum - Foam monitor with self - Inducting, aspirating and non - Aspirating jetand spray/fog nozzle for fire fighting - Specification | Product Specification | Indigenous
68 | IS 2189:2008 | 30 Apr 2008 | Selection, installation and maintenance of automatic fire detection and alarm system code of practice (Fourth Revision) | Code of Practice | Not Equivalent
69 | IS 15682:2006 | 30 Sep 2006 | Fire fighting vehicles and equipment - Symbols for operator controls and other display | Others | Not Equivalent
70 | IS 4947:2006 | 30 Sep 2006 | GAS CARTRIDGES FOR USE IN FIRE EXTINGUISHERS - SPECIFICATION (Third Revision) | Product Specification | Indigenous
71 | IS 15497:2004 | 30 Sep 2004 | Gaseous fire extinguishing systems - IG 01 extinguishing systems | Others | Not Equivalent
72 | IS 15505:2004 | 30 Sep 2004 | Gaseous fire extinguishing systems - HCFC blend a extinguishing systems | Others | Not Equivalent
73 | IS 15517:2004 | 30 Sep 2004 | Gaseous fire extinguishing systems - HFC 227ea (Hepta Fluoro Propane) extinguishing systems | Others | Not Equivalent
74 | IS 15525:2004 | 30 Sep 2004 | Gaseous fire extinguishing systems - IG 100 extinguishing systems | Others | Not Equivalent
75 | IS 15528:2004 | 30 Sep 2004 | Gaseous fire extinguishing systems - Carbon dioxide total flooding and local application (Sub - Floor And In - Cabinet), high and low pressure (Refrigerated) systems | Others | Not Equivalent
76 | IS 15496:2004 | 31 Aug 2004 | Inspection and maintenance of gaseous fire extinguishing systems - Code of practice | Code of Practice | Indigenous
77 | IS 15501:2004 | 31 Aug 2004 | Gaseous fire extinguishing systems - IG 541 extinguishing systems | Others | Not Equivalent
78 | IS 15506:2004 | 31 Aug 2004 | Gaseous fire extinguishing systems - IG 55 extinguishing systems | Others | Not Equivalent
79 | IS 7673:2004 | 31 Aug 2004 | Fire Fighting Equipment - Glossary of Terms (First Revision) | Terminology | Modified/Technically Equivalent
80 | IS 956:2004 | 31 Aug 2004 | Functional requirements for rescue tender for air fields (Second Revision) | Others | Indigenous
81 | IS 951:2003 | 31 Jul 2003 | Functional requirements for crash fire tender for air fields (Fourth Revision) | Others | Indigenous
82 | IS 4989 (Part 4):2003 | 31 May 2003 | Multipurpose aqueous film forming foam liquid concentrate for extinguishing hydrocarbon and polar solvent fires - Specification | Product Specification | Indigenous
83 | IS 15301:2003 | 30 Apr 2003 | Installation and Maintenance of Fire Fighting Pumps - Code of Practice | Code of Practice | -
84 | IS 15220:2002 | 31 Dec 2002 | Halogenated hydrocarbons - Halon 1211 and halon 1401 - Fire extinguishing media - Specification | Product Specification | Not Equivalent
85 | IS 15221:2002 | 31 Dec 2002 | Safe handling and transfer procedures of halon1211 and halon 1301 (Halogenated Hydrocarbons) - Fire extinguishing media - Code of practice | Code of Practice | Not Equivalent
86 | IS 15222:2002 | 31 Dec 2002 | Carbon dioxide as fire extinguishing media for fire protection - Specification | Product Specification | Not Equivalent
87 | IS 5131:2002 | 30 Nov 2002 | Dividing Breeching with Control for Fire Brigade Use -Specification (Second Revision) | Product Specification | -
88 | IS 9972:2002 | 30 Sep 2002 | Specification for automatic sprinkler heads for fire protection service (First Revision) | Product Specification | Indigenous
89 | IS 15051:2001 | 31 Dec 2001 | High pressure fire hose delivery couplings - Specification | Product Specification | Indigenous
90 | IS 14933:2001 | 30 Jun 2001 | High Pressure Fire Fighting Hose -Specification | Product Specification | -
91 | IS 14951:2001 | 31 May 2001 | Fire extinguisher - 135 litres capacity mechanical foam type - Specification | Product Specification | Indigenous
92 | IS 14851:2000 | 31 Oct 2000 | Maintenance of fire hose - Code of practice | Product Specification | Indigenous
93 | IS 8423:1994 | 30 Apr 1994 | Specification for controlled percolating hose for fire fighting (First revision) | Product Specification | -
94 | IS 902:1992 | 31 Oct 1992 | Suction hose couplings for fire fighting purposes - Specification (Third Revision) | Product Specification | Indigenous
95 | IS 8096:1992 | 31 Aug 1992 | Fire beaters - Specification (First Revision) | Product Specification | Indigenous
96 | IS 909:1992 | 31 Aug 1992 | Underground fire hydrant, sluice valve type - Specification (Third Revision) | Product Specification | Indigenous
97 | IS 9668:1990 | 30 Sep 1990 | Provision and maintenance of water supplies for fire fighting - Code of practice (First Revision) | Code of Practice | Indigenous
98 | IS 12861:1989 | 30 Jun 1990 | Fire fighting - Double bit axe for forest fires - Specification | Product Specification | Indigenous
99 | IS 12862:1989 | 30 Jun 1990 | Fire fighting - Shovel for forest fires - Specification | Product Specification | Indigenous
100 | IS 12805:1989 | 31 May 1990 | Tool mcleod for fighting forest fires - Specification | Product Specification | Indigenous
101 | IS 12853:1989 | 31 May 1990 | Specification pulaski tool for forest fire | Product Specification | -
102 | IS 12859:1989 | 31 May 1990 | Fire fighting - Brush hook for forest fires - Specification | Product Specification | Indigenous
103 | IS 3844:1989 | 31 May 1990 | Code of practice for installation and maintenance of internal fire hydrants and hose reels on premises (First Revision) | Code of Practice | Indigenous
104 | IS 12796:1989 | 31 Mar 1990 | Fire rake - Specification | Product Specification | Indigenous
105 | IS 12717:1989 | 31 Dec 1989 | Fire fighting equipment - High capacity portable pump set (1100 - 1600 L/min) - Functional requirements | Product Specification | Indigenous
106 | IS 901:1988 | 31 Jul 1989 | Specification for couplings, double male and double female instantaneous pattern for fire fighting (Third Revision) | Product Specification | Indigenous
107 | IS 4862 (Part 1):1986 | 30 Jun 1987 | Specification for portable fire extinguisher for aircraft: Part 1 halon 1211 type (First Revision) | Product Specification | Not Equivalent
108 | IS 11833:1986 | 31 May 1987 | Specification For Dry Powder Fire Extinguisher For Metal Fires | Product Specification | -
109 | IS 3744:1985 | 30 Sep 1986 | Specification hose binding machine | Product Specification | -
110 | IS 926:1985 | 30 Sep 1986 | Specification For Fireman's Axe (Second Revision) | Product Specification | Indigenous
111 | IS 5505:1985 | 31 Mar 1986 | Specification for multi - Edged rescue axe (Non - Wedging) (First Revision) | Product Specification | Indigenous
112 | IS 947:1985 | 31 Mar 1986 | Specification for washers for water fittings for fire fighting purposes (Second Reuision) | Others | Indigenous
113 | IS 941:1985 | 28 Feb 1986 | Specification for blower and exhauster - For fire fighting (Second Revision) | Product Specification | Indigenous
114 | IS 5486:1985 | 31 Oct 1985 | Specification for quick release knife (First Revision) | Product Specification | Indigenous
115 | IS 6026:1985 | 31 Oct 1985 | Specification for hand - Operated sirens (First Revision) | Product Specification | Indigenous
116 | IS 11108:1984 | 30 Apr 1985 | Specification for portable fire extinguishers - Halon 1211 type | Product Specification | Not Equivalent
117 | IS 11101:1984 | 31 Mar 1985 | Specification for extended branch pipe for fire brigade use | Product Specification | Indigenous
118 | IS 4643:1984 | 28 Feb 1985 | Specification for suction wrenches for fire brigade use (First Revision) | Product Specification | -
119 | IS 10993:1984 | 31 Oct 1984 | Functional requirements for 2000 kg dry powder tender for fire brigade use | Product Specification | -
120 | IS 3582:1984 | 31 Aug 1984 | Basket Strainers For Fire Fighting Purposes (cylindrical Type) (First Revision) | Product Specification | -
121 | IS 907:1984 | 31 Jul 1984 | Specification for suction strainers, cylindrical type for fire fighting purposes (Second Revision) | Product Specification | Indigenous
122 | IS 928:1984 | 30 Jun 1984 | Specification for fire bells (Second Revision) | Product Specification | Indigenous
123 | IS 6070:1983 | 31 Oct 1983 | Code of practice for selection, operation and maintenance of trailer fire pumps, portable pumps, water tenders and motor fire engines (First Revision) | Code of Practice | Indigenous
124 | IS 6067:1983 | 31 Aug 1983 | Functional Requirements for Water Tender Type `X' for Fire Brigade Use (First Revision) | Others | Indigenous
125 | IS 948:1983 | 31 Jul 1983 | Functional Requirements for Water Tender Type `A' for Fire Brigade Use (Second Revision) | Others | Indigenous
126 | IS 904:1983 | 30 Apr 1983 | Specification for 2 - Way and 4 - Way suction collecting heads for fire fighting purposes (Second Revision) | Product Specification | Indigenous
127 | IS 942:1982 | 30 Sep 1982 | Functional requirements for 275 1/min portable pump set for fire fighting (Second Revision) | Others | Indigenous
128 | IS 927:1981 | 31 Mar 1982 | Specification for fire hooks (Second Revision) | Product Specification | Indigenous
129 | IS 5714:1981 | 28 Feb 1982 | Specification for hydrant stand - Pipe for fire fighting (First Revision) | Product Specification | Indigenous
130 | IS 937:1981 | 31 Jan 1982 | Specification for Washers For Water Fittings For Fire Fighting Purposes (Second Revision) | Product Specification | -
131 | IS 955:1980 | 30 Apr 1981 | Functional requirements for dry powder tender for fire brigade use (First Revision) | Others | Indigenous
132 | IS 2930:1980 | 28 Feb 1981 | Functional requirements for hose laying tender for fire brigade use (First Revision) | Others | -
133 | IS 910:1980 | 31 Jan 1981 | Specification for combined key for hydrant, hydrant cover and lower valve (Second Revision) | Product Specification | Indigenous
134 | IS 943:1979 | 31 Jul 1980 | Functional Requirements for 680-1/Min Trailer Pump For Fire Brigade Use (Second Revision) | Others | -
135 | IS 944:1979 | 31 May 1980 | Functional requirements of 1800-1/min trailer pump for fire brigade use (Second Revision) | Others | Indigenous
136 | IS 939:1977 | 31 Jul 1978 | Specification for Snatch Block for Use with Fibre Rope for Fire Brigade Use (First Revision) | Product Specification | -
137 | IS 4571:1977 | 30 Apr 1978 | Specification for aluminium extension ladders for fire brigade use (First Revision) | Product Specification | Indigenous
138 | IS 5612 (Part 1):1977 | 30 Sep 1977 | Specification for hose - Clamps and hose - Bandages for fire brigade use: Part 1 hose - Clamps (First Revision) | Product Specification | Indigenous
139 | IS 5612 (Part 2):1977 | 31 Jul 1977 | Specification for hose - Clamps and hose - Bandages for fire brigade use: Part 2 hose - Bandages (First Revision) | Product Specification | Indigenous
140 | IS 8090:1976 | 31 Oct 1976 | Specification for couplings, branch pipe, nozzle used in hose reel tubing for fire fighting (First Revision) | Product Specification | Indigenous
141 | IS 1941 (Part 1):1976 | 31 Aug 1976 | Functional requirements for electric motor sirens: Part 1 ac, 4 - Phase, 50 hz, 415 volts type (Second Revision) | Others | Indigenous
142 | IS 908:1975 | 30 Sep 1975 | Specification for fire hydrant, stand post type (Second Revision) | Product Specification | Indigenous
143 | IS 5896 (Part 3):1975 | 31 Jul 1975 | Code of practice for selection, operation and maintenance of fire fighting appliances: Part 3 Turntable ladders | Code of Practice | -
144 | IS 2696:1974 | 30 Nov 1974 | Functional requirements for 1 125-1/min light fire engine (First Revision) | Others | Indigenous
145 | IS 2546:1974 | 31 Aug 1974 | Specification for galvanized mild steel fire bucket (First Revision) | Product Specification | Indigenous
146 | IS 5896 (Part 1):1970 | 31 May 1971 | Code of practice for selection, operation and maintenance of special fire fighting appliances: Part 1 combined foam and cop crash tender | Code of Practice | Indigenous
147 | IS 5888:1970 | 30 Apr 1971 | Code of practice for design and construction of fire service drill - Tower | Code of Practice | Indigenous
148 | IS 957:1967 | 31 Jan 1968 | Specification for control van for fire brigade use | Product Specification | Indigenous
149 | IS 10460:1983 |  | FUNCTIONAL REQUIREMENTS FOR SMALL FOAM TENDER FOR FIRE BRIGADE USE | Product Specification | Indigenous